## Sheet1
Parameters:
Mass of glass plate plus window plate (kg) |  |  |  | 0.0079
Length, Entire contact patch (mm) : |  |  |  | 23.75
Pixel size (μm) |  |  |  | 0.578
FITTING PARAMETERS
Filament diameter d (mm): |  |  |  | 0.0067
[29 empty] | T700SC-12k-60E |  |  |  | T700SC-12k-50C
Effective Modulus E* (MPa): |  |  |  | 14611.38 | [24 empty] | k1 | n1 | k2 | n2 | k1 | n1 | k2 | n2
FOV Length (mm): |  |  |  | 1.1838 | [7 empty] | 264.5223 | [16 empty] | 0.699 | 0.7195 | 0.03914 | 0.7453 | 0.7096 | 0.8301 | 0.03844 | 0.7479
FOV Width (mm): |  |  |  | 0.88786 | [24 empty] | 0.708 | 0.7112 | 0.03947 | 0.7464 | 0.748 | 0.8115 | 0.03277 | 0.7853
No of FOV's in horizontal direction: |  |  |  | 7 | [24 empty] | 0.744 | 0.7043 | 0.04611 | 0.6879 | 0.6634 | 0.8455 | 0.02941 | 0.808
Length, scanned area (mm): |  |  |  | 8.2867 |  | 7.2062 | [22 empty] | 0.6893 | 0.7207 | 0.04665 | 0.7067 | 0.6374 | 0.8433 | 0.03156 | 0.7862
[29 empty] | 0.642 | 0.7237 | 0.04661 | 0.7031 | 0.7688 | 0.818 | 0.02785 | 0.8081
7.6997
[6 empty] | 7.4051 | 182.8678
Tow type: | [14 empty] | Ideal Arrangement of perfectly aligned filaments | [5 empty] | Friction Forces
T700-12k-60E
[21 empty] | Static | Static | Static
Test 1 | [20 empty] | Friction Force (N) | Friction Force (N) (zeroed) | Friction Force F (N) [per one contact] | Coefficient of Friction | F/A (MPa) | (A)*(τ) | F-W Curve fits | [6 empty] | A-W Curve fits
Step | Total Ld Cell forces (N) |  | Total Ld Cell Zeroed force (N) | Total Load (N) | Contact Width (µm) | Contact Width (mm) | Contact Area (mm2) | Nom Pressure (MPa) | Nom Pressure (kPa) | Contact Length (pxl) [scanned area] | Contact Length (mm) [scanned area] | Contact Length Lmic (mm) [entire contact patch] | Contact Half Width a (mm) | Total contact area (mm2) [entire contact patch] | Total Ideal Contact Length (mm) [entire contact patch] | Ideal Contact Half Width a (mm) | Ideal total contact area (mm) | Contact Length/Ideal contact length | %Contact Length | Force at zero ld: | -0.010165 | [6 empty] | coefficients |  | 95% confidence bounds |  |  |  |  | coefficients |  | 95% confidence bounds |  | k1/k2 | Fitted Friction force | Fitted Real Contact Area
0 | 0.0012696 | 0.00063479 | 0 | 0.077499 | 7050.06 | 7.0501 | 167.4389 | 0.00046285 | 0.46285 | 267183.28 | 154.4319 | 442.6057 | 7.1512e-06 | 0.0063304 | 24990.8843 | 9.517e-07 | 0.047568 | 0.017711 | 1.7711 |  | 0.464 | 0.47417 | 0.23708 | 3.0592 | 37.4517 | 0.10445 | k1 | 0.699 |  | 0.6404 | 0.7577 |  |  | k2 | 0.03914 |  | 0.03779 | 0.04048 | 17.859 | 0.111 | 0.0058185
1 | 0.77439 | 0.38719 | 0.77312 | 0.85062 | 7050.06 | 7.0501 | 167.4389 | 0.0050802 | 5.0802 | 641395.19 | 370.7264 | 1062.511 | 1.5291e-05 | 0.032494 | 24990.8843 | 3.153e-06 | 0.15759 | 0.042516 | 4.2516 |  | 1.467 | 1.4772 | 0.73858 | 0.86829 | 22.7297 | 0.53615 | n1 | 0.7195 |  | 0.6955 | 0.7435 |  |  | n2 | 0.7453 |  | 0.7355 | 0.7551 |  | 0.62219 | 0.034694
2 | 1.5781 | 0.78904 | 1.5768 | 1.6543 | 7072.41 | 7.0724 | 167.9697 | 0.0098488 | 9.8488 | 896782.81 | 518.3405 | 1485.5765 | 1.8034e-05 | 0.053583 | 25070.1101 | 4.3901e-06 | 0.22012 | 0.059257 | 5.9257 |  | 2.3 | 2.3102 | 1.1551 | 0.69823 | 21.5569 | 0.88412 | [13 empty] | 1.0041 | 0.056958
3 | 3.2291 | 1.6145 | 3.2278 | 3.3053 | 7104.78 | 7.1048 | 168.7385 | 0.019588 | 19.5883 | 1235324.31 | 714.0175 | 2046.3915 | 2.172e-05 | 0.088894 | 25184.8545 | 6.1912e-06 | 0.31185 | 0.081255 | 8.1255 |  | 3.46 | 3.4702 | 1.7351 | 0.52494 | 19.5186 | 1.4667 | [13 empty] | 1.6522 | 0.095409
4 | 4.7698 | 2.3849 | 4.7685 | 4.846 | 7140.23 | 7.1402 | 169.5805 | 0.028576 | 28.5764 | 1614310.46 | 933.0714 | 2674.2056 | 2.3006e-05 | 0.12304 | 25310.5168 | 7.478e-06 | 0.37854 | 0.10566 | 10.5656 |  | 4.55 | 4.5602 | 2.2801 | 0.47051 | 18.5306 | 2.0302 | [13 empty] | 2.1758 | 0.12689
5 | 6.4567 | 3.2284 | 6.4554 | 6.5329 | 7166.43 | 7.1664 | 170.2027 | 0.038383 | 38.3832 | 2007216.35 | 1160.1711 | 3325.0787 | 2.3955e-05 | 0.1593 | 25403.3899 | 8.6666e-06 | 0.44032 | 0.13089 | 13.0891 |  | 5.59 | 5.6002 | 2.8001 | 0.42861 | 17.577 | 2.6285 | [13 empty] | 2.6974 | 0.15853
6 | 8.0199 | 4.0099 | 8.0186 | 8.0961 | 7183.38 | 7.1834 | 170.6053 | 0.047455 | 47.4551 | 2355259.12 | 1361.3398 | 3901.6332 | 2.4618e-05 | 0.1921 | 25463.4739 | 9.6365e-06 | 0.49076 | 0.15322 | 15.3225 |  | 6.44 | 6.4502 | 3.2251 | 0.39835 | 16.7884 | 3.1697 | [13 empty] | 3.1476 | 0.18602
7 | 11.9857 | 5.9929 | 11.9845 | 12.062 | 7223.46 | 7.2235 | 171.5572 | 0.070309 | 70.3087 | 2727051.08 | 1576.2355 | 4517.5297 | 2.7925e-05 | 0.25231 | 25605.5485 | 1.173e-05 | 0.60069 | 0.17643 | 17.6428 |  | 8.21 | 8.2202 | 4.1101 | 0.34075 | 16.2899 | 4.1631 | [13 empty] | 4.1933 | 0.25038
8 | 18.4602 | 9.2301 | 18.4589 | 18.5364 | 7270.66 | 7.2707 | 172.6782 | 0.10735 | 107.3464 | 3323667.46 | 1921.0798 | 5505.8618 | 3.1358e-05 | 0.3453 | 25772.8619 | 1.4493e-05 | 0.74708 | 0.21363 | 21.363 |  | 10.95 | 10.9602 | 5.4801 | 0.29564 | 15.8705 | 5.6975 | [13 empty] | 5.7124 | 0.34489
9 | 23.9332 | 11.9666 | 23.932 | 24.0094 | 7326.73 | 7.3267 | 174.0098 | 0.13798 | 137.9775 | 3781609.39 | 2185.7702 | 6264.4711 | 3.3457e-05 | 0.41918 | 25971.6175 | 1.6432e-05 | 0.85352 | 0.2412 | 24.1205 |  | 13.44 | 13.4502 | 6.7251 | 0.2801 | 16.0433 | 6.9165 | [13 empty] | 6.8812 | 0.41823
10 | 30.2175 | 15.1088 | 30.2162 | 30.2937 | 7416.89 | 7.4169 | 176.1511 | 0.17198 | 171.9759 | 4242548.62 | 2452.1931 | 7028.0456 | 3.5481e-05 | 0.49873 | 26291.2146 | 1.8345e-05 | 0.96461 | 0.26732 | 26.7315 |  | 16.07 | 16.0802 | 8.0401 | 0.2654 | 16.1211 | 8.229 | [13 empty] | 8.1341 | 0.49736
11 | 35.9413 | 17.9706 | 35.94 | 36.0175 | 7496.28 | 7.4963 | 178.0366 | 0.2023 | 202.304 | 4594481.01 | 2655.61 | 7611.0434 | 3.7177e-05 | 0.56591 | 26572.6343 | 1.9897e-05 | 1.0574 | 0.28642 | 28.6424 |  | 18.42 | 18.4302 | 9.2151 | 0.25585 | 16.2835 | 9.3376 | [13 empty] | 9.2127 | 0.56584
12 | 42.041 | 21.0205 | 42.0398 | 42.1173 | 7566.41 | 7.5664 | 179.7022 | 0.23437 | 234.3725 | 4951166.52 | 2861.7742 | 8201.9152 | 3.8727e-05 | 0.63527 | 26821.2295 | 2.1416e-05 | 1.1488 | 0.3058 | 30.5799 |  | 20.74 | 20.7502 | 10.3751 | 0.24634 | 16.3317 | 10.482 | [13 empty] | 10.3104 | 0.63582
13 | 47.9412 | 23.9706 | 47.94 | 48.0175 | 7637.31 | 7.6373 | 181.3861 | 0.26473 | 264.7251 | 5255813.75 | 3037.8603 | 8706.5822 | 4.0134e-05 | 0.69887 | 27072.5541 | 2.276e-05 | 1.2324 | 0.3216 | 32.1602 |  | 22.96 | 22.9702 | 11.4851 | 0.23919 | 16.4338 | 11.5313 | [13 empty] | 11.3304 | 0.70108
[21 empty] | Static | Static | Static
Test 2 | [20 empty] | Friction Force (N) | Friction Force (N) (zeroed) | Friction Force F (N) [per one contact] | Coefficient of Friction | F/A (MPa) | (A)*(τ) | F-W Curve fits | [6 empty] | A-W Curve fits
Step | Total Ld Cell forces (N) |  | Total Ld Cell Zeroed force (N) | Total Load (N) | Contact Width (µm) | Contact Width (mm) | Contact Area (mm2) | Nom Pressure (MPa) | Nom Pressure (kPa) | Contact Length (pxl) [scanned area] | Contact Length (mm) [scanned area] | Contact Length Lmic (mm) [entire contact patch] | Contact Half Width a (mm) | Total contact area (mm2) [entire contact patch] | Total Ideal Contact Length (mm) [entire contact patch] | Ideal Contact Half Width a (mm) | Ideal total contact area (mm) | Contact Length/Ideal contact length |  | Force at zero ld: | 0.0014737 | [6 empty] | coefficients |  | 95% confidence bounds |  |  |  |  | coefficients |  | 95% confidence bounds |  | k1/k2 | Fitted Friction force | Fitted Real Contact Area
0 | -0.017737 | -0.0088687 | 0 | 0.077499 | 7322.88 | 7.3229 | 173.9184 | 0.00044561 | 0.44561 | 155313.18 | 89.771 | 257.2859 | 9.3795e-06 | 0.0048265 | 25957.9701 | 9.338e-07 | 0.048479 | 0.0099116 | 0.99116 |  | 0.33 | 0.32853 | 0.16426 | 2.1196 | 34.0339 | 0.077223 | k1 | 0.708 |  | 0.6601 | 0.7559 |  |  | k2 | 0.03947 |  | 0.03659 | 0.04234 | 17.9377 | 0.11484 | 0.0058511
1 | 0.718 | 0.359 | 0.73574 | 0.81324 | 7324.32 | 7.3243 | 173.9526 | 0.004675 | 4.675 | 427107.34 | 246.868 | 707.5299 | 1.8322e-05 | 0.025927 | 25963.0746 | 3.0246e-06 | 0.15706 | 0.027251 | 2.7251 |  | 1.22 | 1.2185 | 0.60926 | 0.74918 | 23.4991 | 0.41483 | n1 | 0.7112 |  | 0.6919 | 0.7306 |  |  | n2 | 0.7464 |  | 0.7256 | 0.7671 |  | 0.61119 | 0.033826
2 | 1.5692 | 0.78458 | 1.5869 | 1.6644 | 7307.46 | 7.3075 | 173.5522 | 0.0095901 | 9.5901 | 646811.7 | 373.8572 | 1071.4838 | 2.13e-05 | 0.045645 | 25903.3097 | 4.332e-06 | 0.22443 | 0.041365 | 4.1365 |  | 2.06 | 2.0585 | 1.0293 | 0.6184 | 22.5494 | 0.73032 | [13 empty] | 1.0172 | 0.057731
3 | 3.216 | 1.608 | 3.2337 | 3.3112 | 7305.92 | 7.3059 | 173.5156 | 0.019083 | 19.0833 | 1141395.85 | 659.7268 | 1890.7932 | 2.2616e-05 | 0.085524 | 25897.8507 | 6.1109e-06 | 0.31652 | 0.07301 | 7.301 |  | 3.22 | 3.2185 | 1.6093 | 0.486 | 18.8164 | 1.3684 | [13 empty] | 1.659 | 0.096469
4 | 4.8084 | 2.4042 | 4.8262 | 4.9037 | 7378.27 | 7.3783 | 175.2339 | 0.027984 | 27.9836 | 1580795.34 | 913.6997 | 2618.6858 | 2.3386e-05 | 0.12248 | 26154.3153 | 7.4e-06 | 0.38708 | 0.10012 | 10.0124 |  | 4.49 | 4.4885 | 2.2443 | 0.45767 | 18.3231 | 1.9597 | [13 empty] | 2.1935 | 0.12932
5 | 6.4581 | 3.229 | 6.4758 | 6.5533 | 7324.42 | 7.3244 | 173.955 | 0.037673 | 37.6726 | 2067805.59 | 1195.1916 | 3425.4485 | 2.3638e-05 | 0.16194 | 25963.4291 | 8.586e-06 | 0.44585 | 0.13193 | 13.1934 |  | 5.53 | 5.5285 | 2.7643 | 0.42181 | 17.0694 | 2.5911 | [13 empty] | 2.6959 | 0.16057
6 | 8.0341 | 4.0171 | 8.0519 | 8.1294 | 7346.77 | 7.3468 | 174.4858 | 0.04659 | 46.5904 | 2500479.37 | 1445.2771 | 4142.1995 | 2.3942e-05 | 0.19834 | 26042.6549 | 9.5483e-06 | 0.49733 | 0.15905 | 15.9054 |  | 6.67 | 6.6685 | 3.3343 | 0.41015 | 16.8106 | 3.1735 | [13 empty] | 3.1424 | 0.1886
7 | 11.9455 | 5.9727 | 11.9632 | 12.0407 | 7369.89 | 7.3699 | 175.0349 | 0.06879 | 68.7904 | 2880567.85 | 1664.9682 | 4771.8397 | 2.7147e-05 | 0.25908 | 26124.6101 | 1.1602e-05 | 0.60621 | 0.18266 | 18.2657 |  | 8.44 | 8.4385 | 4.2193 | 0.35042 | 16.2853 | 4.1453 | [13 empty] | 4.1552 | 0.25285
8 | 18.2123 | 9.1061 | 18.23 | 18.3075 | 7398.4 | 7.3984 | 175.712 | 0.10419 | 104.1906 | 3422081 | 1977.9628 | 5668.8899 | 3.0712e-05 | 0.34821 | 26225.6716 | 1.4279e-05 | 0.74895 | 0.21616 | 21.6158 |  | 10.88 | 10.8785 | 5.4393 | 0.29711 | 15.6208 | 5.5713 | [13 empty] | 5.5978 | 0.3457
9 | 24.1211 | 12.0606 | 24.1389 | 24.2164 | 7433.85 | 7.4339 | 176.5539 | 0.13716 | 137.1613 | 3940773.94 | 2277.7673 | 6528.137 | 3.2916e-05 | 0.42976 | 26351.334 | 1.6383e-05 | 0.86343 | 0.24773 | 24.7735 |  | 13.33 | 13.3285 | 6.6643 | 0.2752 | 15.5071 | 6.8761 | [13 empty] | 6.8299 | 0.42596
10 | 29.9404 | 14.9702 | 29.9582 | 30.0357 | 7480.86 | 7.4809 | 177.6704 | 0.16905 | 169.0527 | 4359313.4 | 2519.6831 | 7221.4737 | 3.4854e-05 | 0.50339 | 26517.9739 | 1.8188e-05 | 0.96463 | 0.27232 | 27.2324 |  | 15.86 | 15.8585 | 7.9293 | 0.26399 | 15.7518 | 8.0542 | [13 empty] | 7.9603 | 0.50024
11 | 36.2285 | 18.1142 | 36.2462 | 36.3237 | 7507.26 | 7.5073 | 178.2974 | 0.20373 | 203.7254 | 4707091.02 | 2720.6986 | 7797.5889 | 3.6886e-05 | 0.57524 | 26611.556 | 1.9967e-05 | 1.0627 | 0.29302 | 29.3015 |  | 18.11 | 18.1085 | 9.0543 | 0.24927 | 15.74 | 9.2038 | [13 empty] | 9.1126 | 0.57649
12 | 42.3662 | 21.1831 | 42.3839 | 42.4614 | 7537.89 | 7.5379 | 179.0249 | 0.23718 | 237.1817 | 5060860.66 | 2925.1775 | 8383.6303 | 3.8461e-05 | 0.64489 | 26720.1325 | 2.1544e-05 | 1.1513 | 0.31376 | 31.3757 |  | 20.36 | 20.3585 | 10.1793 | 0.23973 | 15.7845 | 10.3182 | [13 empty] | 10.1827 | 0.64774
13 | 48.0267 | 24.0134 | 48.0444 | 48.1219 | 7565.64 | 7.5656 | 179.684 | 0.26781 | 267.8144 | 5371645.4 | 3104.811 | 8898.4646 | 3.9743e-05 | 0.7073 | 26818.5 | 2.2893e-05 | 1.2279 | 0.3318 | 33.1803 |  | 22.58 | 22.5785 | 11.2893 | 0.2346 | 15.9612 | 11.3167 | [13 empty] | 11.1305 | 0.71116
[21 empty] | Static | Static | Static
Test 3 | [20 empty] | Friction Force (N) | Friction Force (N) (zeroed) | Friction Force F (N) [per one contact] | Coefficient of Friction | F/A (MPa) | (A)*(τ) | F-W Curve fits | [6 empty] | A-W Curve fits
Step | Total Ld Cell forces (N) |  | Total Ld Cell Zeroed force (N) | Total Load (N) | Contact Width (µm) | Contact Width (mm) | Contact Area (mm2) | Nom Pressure (MPa) | Nom Pressure (kPa) | Contact Length (pxl) [scanned area] | Contact Length (mm) [scanned area] | Contact Length Lmic (mm) [entire contact patch] | Contact Half Width a (mm) | Total contact area (mm2) [entire contact patch] | Total Ideal Contact Length (mm) [entire contact patch] | Ideal Contact Half Width a (mm) | Ideal total contact area (mm) | Contact Length/Ideal contact length |  | Force at zero ld: | 0.016696 | [6 empty] | coefficients |  | 95% confidence bounds |  |  |  |  | coefficients |  | 95% confidence bounds |  | k1/k2 | Fitted Friction force | Fitted Real Contact Area
0 | -0.029858 | -0.014929 | 0 | 0.077499 | 7339.06 | 7.3391 | 174.3027 | 0.00044462 | 0.44462 | 231017.56 | 133.5281 | 382.695 | 7.6907e-06 | 0.0058864 | 26015.3246 | 9.3277e-07 | 0.048533 | 0.01471 | 1.471 |  | 0.46 | 0.4433 | 0.22165 | 2.8601 | 37.6553 | 0.10007 | k1 | 0.744 |  | 0.6854 | 0.8026 |  |  | k2 | 0.04611 |  | 0.04354 | 0.04867 | 16.1353 | 0.12283 | 0.0079386
1 | 0.68995 | 0.34498 | 0.71981 | 0.71981 | 7358.33 | 7.3583 | 174.7603 | 0.0041188 | 4.1188 | 593314.44 | 342.9357 | 982.8623 | 1.4625e-05 | 0.028749 | 26083.6325 | 2.839e-06 | 0.1481 | 0.037681 | 3.7681 |  | 1.37 | 1.3533 | 0.67665 | 0.94004 | 23.5363 | 0.48874 | n1 | 0.7043 |  | 0.6818 | 0.7269 |  |  | n2 | 0.6879 |  | 0.672 | 0.7039 |  | 0.59022 | 0.036777
2 | 1.5673 | 0.78364 | 1.5971 | 1.5971 | 7362.95 | 7.3629 | 174.8701 | 0.0091333 | 9.1333 | 979421.62 | 566.1057 | 1622.4728 | 1.6956e-05 | 0.055022 | 26100.0093 | 4.2276e-06 | 0.22068 | 0.062164 | 6.2164 |  | 2.33 | 2.3133 | 1.1567 | 0.7242 | 21.0218 | 0.93537 | [13 empty] | 1.0346 | 0.063632
3 | 3.1965 | 1.5982 | 3.2263 | 3.2263 | 7372.19 | 7.3722 | 175.0895 | 0.018427 | 18.4268 | 1437195.59 | 830.6991 | 2380.8038 | 1.9895e-05 | 0.09473 | 26132.7631 | 6.0049e-06 | 0.31385 | 0.091104 | 9.1104 |  | 3.46 | 3.4433 | 1.7217 | 0.53362 | 18.1742 | 1.6104 | [13 empty] | 1.6977 | 0.10321
4 | 4.7801 | 2.39 | 4.8099 | 4.8099 | 7380.68 | 7.3807 | 175.2911 | 0.02744 | 27.4396 | 1880943.46 | 1087.1853 | 3115.8998 | 2.1233e-05 | 0.13232 | 26162.8582 | 7.3277e-06 | 0.38343 | 0.1191 | 11.9096 |  | 4.7 | 4.6833 | 2.3417 | 0.48684 | 17.6966 | 2.2495 | [13 empty] | 2.2491 | 0.13584
5 | 6.4853 | 3.2426 | 6.5151 | 6.5151 | 7440.69 | 7.4407 | 176.7164 | 0.036868 | 36.8677 | 2239280.34 | 1294.304 | 3709.5071 | 2.2649e-05 | 0.16803 | 26375.5802 | 8.4938e-06 | 0.44806 | 0.14064 | 14.0642 |  | 5.82 | 5.8033 | 2.9017 | 0.44537 | 17.2685 | 2.8565 | [13 empty] | 2.785 | 0.16738
6 | 7.9755 | 3.9877 | 8.0053 | 8.0053 | 7384.91 | 7.3849 | 175.3916 | 0.045643 | 45.6426 | 2523896.87 | 1458.8124 | 4180.9921 | 2.3648e-05 | 0.19774 | 26177.8526 | 9.4507e-06 | 0.4948 | 0.15971 | 15.9715 |  | 6.71 | 6.6933 | 3.3467 | 0.41805 | 16.9242 | 3.3616 | [13 empty] | 3.2198 | 0.19285
7 | 12.0031 | 6.0015 | 12.033 | 12.033 | 7417.67 | 7.4177 | 176.1697 | 0.068303 | 68.3032 | 2908795.74 | 1681.2839 | 4818.601 | 2.7006e-05 | 0.26027 | 26293.9795 | 1.1561e-05 | 0.60798 | 0.18326 | 18.3259 |  | 8.47 | 8.4533 | 4.2267 | 0.35126 | 16.2397 | 4.4245 | [13 empty] | 4.2902 | 0.25526
8 | 18.0124 | 9.0062 | 18.0422 | 18.0422 | 7449.26 | 7.4493 | 176.9199 | 0.10198 | 101.9797 | 3335677.87 | 1928.0218 | 5525.7578 | 3.0881e-05 | 0.34128 | 26405.959 | 1.4127e-05 | 0.74605 | 0.20926 | 20.9262 |  | 11.11 | 11.0933 | 5.5467 | 0.30743 | 16.2524 | 5.8018 | [13 empty] | 5.7066 | 0.33729
9 | 24.1444 | 12.0722 | 24.1743 | 24.1743 | 7477.68 | 7.4777 | 177.5949 | 0.13612 | 136.1204 | 3718149.12 | 2149.0902 | 6159.3452 | 3.3857e-05 | 0.41708 | 26506.7015 | 1.6321e-05 | 0.86522 | 0.23237 | 23.2369 |  | 13.54 | 13.5233 | 6.7617 | 0.2797 | 16.212 | 7.0903 | [13 empty] | 7.0124 | 0.41248
10 | 30.1691 | 15.0846 | 30.199 | 30.199 | 7527.49 | 7.5275 | 178.7779 | 0.16892 | 168.9191 | 3971544.37 | 2295.5526 | 6579.1102 | 3.6615e-05 | 0.48178 | 26683.2668 | 1.8181e-05 | 0.97026 | 0.24656 | 24.6563 |  | 16.3 | 16.2833 | 8.1417 | 0.2696 | 16.899 | 8.1903 | [13 empty] | 8.2022 | 0.48071
11 | 36.192 | 18.096 | 36.2218 | 36.2218 | 7601.18 | 7.6012 | 180.528 | 0.20064 | 200.6439 | 4259040.36 | 2461.7253 | 7055.3651 | 3.8723e-05 | 0.54641 | 26944.4813 | 1.9815e-05 | 1.0678 | 0.26185 | 26.1848 |  | 18.62 | 18.6033 | 9.3017 | 0.2568 | 17.0233 | 9.2889 | [13 empty] | 9.323 | 0.54477
12 | 42.3336 | 21.1668 | 42.3635 | 42.3635 | 7674.29 | 7.6743 | 182.2644 | 0.23243 | 232.4286 | 4459451.76 | 2577.5631 | 7387.3591 | 4.0925e-05 | 0.60466 | 27203.6399 | 2.1327e-05 | 1.1603 | 0.27156 | 27.1558 |  | 21.01 | 20.9933 | 10.4967 | 0.24778 | 17.3596 | 10.2792 | [13 empty] | 10.4103 | 0.60674
13 | 48.3285 | 24.1643 | 48.3584 | 48.3584 | 7718.81 | 7.7188 | 183.3217 | 0.26379 | 263.7897 | 4644181.01 | 2684.3366 | 7693.3746 | 4.2847e-05 | 0.65927 | 27361.4534 | 2.272e-05 | 1.2433 | 0.28118 | 28.1176 |  | 23.16 | 23.1433 | 11.5717 | 0.23929 | 17.5521 | 11.2077 | [13 empty] | 11.4274 | 0.66457
[21 empty] | Static | Static | Static
Test 4 | [20 empty] | Friction Force (N) | Friction Force (N) (zeroed) | Friction Force F (N) [per one contact] | Coefficient of Friction | F/A (MPa) | (A)*(τ) | F-W Curve fits | [6 empty] | A-W Curve fits
Step | Total Ld Cell forces (N) |  | Total Ld Cell Zeroed force (N) | Total Load (N) | Contact Width (µm) | Contact Width (mm) | Contact Area (mm2) | Nom Pressure (MPa) | Nom Pressure (kPa) | Contact Length (pxl) [scanned area] | Contact Length (mm) [scanned area] | Contact Length Lmic (mm) [entire contact patch] | Contact Half Width a (mm) | Total contact area (mm2) [entire contact patch] | Total Ideal Contact Length (mm) [entire contact patch] | Ideal Contact Half Width a (mm) | Ideal total contact area (mm) | Contact Length/Ideal contact length |  | Force at zero ld: | 0.0082643 | [6 empty] | coefficients |  | 95% confidence bounds |  |  |  |  | coefficients |  | 95% confidence bounds |  | k1/k2 | Fitted Friction force | Fitted Real Contact Area
0 | -0.018527 | -0.0092634 | 0 | 0.077499 | 6922.89 | 6.9229 | 164.4186 | 0.00047135 | 0.47135 | 192140.9 | 111.0574 | 318.2933 | 8.4329e-06 | 0.0053683 | 24540.0951 | 9.604e-07 | 0.047137 | 0.01297 | 1.297 |  | 0.46 | 0.45174 | 0.22587 | 2.9145 | 42.0747 | 0.083208 | k1 | 0.6893 |  | 0.6211 | 0.7576 |  |  | k2 | 0.04665 |  | 0.04417 | 0.04913 | 14.776 | 0.10912 | 0.0076545
1 | 0.73543 | 0.36772 | 0.75396 | 0.83146 | 6960.66 | 6.9607 | 165.3157 | 0.0050295 | 5.0295 | 588546.8 | 340.1801 | 974.9644 | 1.5782e-05 | 0.030774 | 24673.9813 | 3.1372e-06 | 0.15481 | 0.039514 | 3.9514 |  | 1.29 | 1.29 | 0.645 | 0.77574 | 20.9591 | 0.477 | n1 | 0.7207 |  | 0.6926 | 0.7489 |  |  | n2 | 0.7067 |  | 0.6915 | 0.7219 |  | 0.60345 | 0.040945
2 | 1.6367 | 0.81834 | 1.6552 | 1.7327 | 7007.67 | 7.0077 | 166.4322 | 0.010411 | 10.4109 | 1042210.71 | 602.3978 | 1726.4868 | 1.7121e-05 | 0.059117 | 24840.6213 | 4.5136e-06 | 0.22424 | 0.069503 | 6.9503 |  | 2.2 | 2.2 | 1.1 | 0.63485 | 18.607 | 0.91632 | [13 empty] | 1.0244 | 0.068795
3 | 3.1735 | 1.5867 | 3.192 | 3.2695 | 7045.44 | 7.0454 | 167.3292 | 0.019539 | 19.5393 | 1640576.58 | 948.2533 | 2717.7171 | 1.8745e-05 | 0.10189 | 24974.5075 | 6.1835e-06 | 0.30886 | 0.10882 | 10.882 |  | 3.46 | 3.46 | 1.73 | 0.52913 | 16.9798 | 1.5792 | [13 empty] | 1.6188 | 0.10775
4 | 4.8574 | 2.4287 | 4.8759 | 4.9534 | 7104.01 | 7.104 | 168.7202 | 0.029359 | 29.3588 | 2156041.34 | 1246.1919 | 3571.6165 | 2.0126e-05 | 0.14377 | 25182.125 | 7.5796e-06 | 0.38174 | 0.14183 | 14.1831 |  | 4.66 | 4.66 | 2.33 | 0.47038 | 16.2069 | 2.2284 | [13 empty] | 2.1839 | 0.14452
5 | 6.4167 | 3.2084 | 6.4352 | 6.5127 | 7164.12 | 7.1641 | 170.1478 | 0.038277 | 38.2769 | 2529867.83 | 1462.2636 | 4190.8833 | 2.1304e-05 | 0.17857 | 25395.2015 | 8.6546e-06 | 0.43957 | 0.16503 | 16.5027 |  | 5.62 | 5.62 | 2.81 | 0.43146 | 15.7362 | 2.7678 | [13 empty] | 2.66 | 0.17536
6 | 8.0064 | 4.0032 | 8.0249 | 8.1024 | 7208.82 | 7.2088 | 171.2095 | 0.047325 | 47.3246 | 2894792.47 | 1673.19 | 4795.4037 | 2.2215e-05 | 0.21306 | 25553.653 | 9.6233e-06 | 0.49182 | 0.18766 | 18.766 |  | 6.51 | 6.51 | 3.255 | 0.40173 | 15.2777 | 3.3024 | [13 empty] | 3.1135 | 0.20463
7 | 11.9971 | 5.9986 | 12.0156 | 12.0931 | 7263.53 | 7.2635 | 172.5088 | 0.070102 | 70.1015 | 3268660.61 | 1889.2858 | 5414.7395 | 2.554e-05 | 0.27659 | 25747.5877 | 1.1712e-05 | 0.60313 | 0.2103 | 21.0301 |  | 8.11 | 8.11 | 4.055 | 0.33531 | 14.6609 | 4.2871 | [13 empty] | 4.1552 | 0.27157
8 | 17.903 | 8.9515 | 17.9215 | 17.999 | 7317.48 | 7.3175 | 173.7901 | 0.10357 | 103.5674 | 3764567.51 | 2175.92 | 6236.2401 | 2.9034e-05 | 0.36212 | 25938.8284 | 1.4236e-05 | 0.73854 | 0.24042 | 24.0421 |  | 10.74 | 10.74 | 5.37 | 0.29835 | 14.8292 | 5.6129 | [13 empty] | 5.5343 | 0.3597
9 | 24.3308 | 12.1654 | 24.3493 | 24.4268 | 7375.28 | 7.3753 | 175.1629 | 0.13945 | 139.4521 | 4211470.97 | 2434.2302 | 6976.5635 | 3.1978e-05 | 0.4462 | 26143.7164 | 1.6519e-05 | 0.86375 | 0.26685 | 26.6854 |  | 13.42 | 13.42 | 6.71 | 0.2747 | 15.0382 | 6.916 | [13 empty] | 6.8967 | 0.44633
10 | 30.038 | 15.019 | 30.0565 | 30.134 | 7434.62 | 7.4346 | 176.5722 | 0.17066 | 170.6611 | 4558041.88 | 2634.5482 | 7550.6797 | 3.4141e-05 | 0.51558 | 26354.0634 | 1.8275e-05 | 0.96322 | 0.28651 | 28.6509 |  | 15.81 | 15.81 | 7.905 | 0.26233 | 15.3323 | 7.9914 | [13 empty] | 8.0235 | 0.51773
11 | 36.6422 | 18.3211 | 36.6608 | 36.7383 | 7483.17 | 7.4832 | 177.7253 | 0.20671 | 206.7137 | 4941544 | 2856.2124 | 8185.9749 | 3.6205e-05 | 0.59274 | 26526.1623 | 2.0112e-05 | 1.067 | 0.3086 | 30.86 |  | 18.17 | 18.17 | 9.085 | 0.24729 | 15.327 | 9.1875 | [13 empty] | 9.2553 | 0.59555
12 | 42.4335 | 21.2168 | 42.4521 | 42.5296 | 7541.74 | 7.5417 | 179.1163 | 0.23744 | 237.441 | 5301221.66 | 3064.1061 | 8781.8033 | 3.7609e-05 | 0.66056 | 26733.7799 | 2.1555e-05 | 1.1525 | 0.32849 | 32.8491 |  | 20.7 | 20.7 | 10.35 | 0.24336 | 15.6686 | 10.2386 | [13 empty] | 10.285 | 0.66046
13 | 49.0589 | 24.5295 | 49.0775 | 49.155 | 7580.28 | 7.5803 | 180.0317 | 0.27304 | 273.0351 | 5627262.62 | 3252.5578 | 9321.9104 | 3.9244e-05 | 0.73166 | 26870.3955 | 2.3115e-05 | 1.2422 | 0.34692 | 34.6921 |  | 23.38 | 23.38 | 11.69 | 0.23782 | 15.9774 | 11.3407 | [13 empty] | 11.4162 | 0.73161
[21 empty] | Static | Static | Static
Test 5 | [20 empty] | Friction Force (N) | Friction Force (N) (zeroed) | Friction Force F (N) [per one contact] | Coefficient of Friction | F/A (MPa) | (A)*(τ) | F-W Curve fits | [6 empty] | A-W Curve fits
Step | Total Ld Cell forces (N) |  | Total Ld Cell Zeroed force (N) | Total Load (N) | Contact Width (µm) | Contact Width (mm) | Contact Area (mm2) | Nom Pressure (MPa) | Nom Pressure (kPa) | Contact Length (pxl) [scanned area] | Contact Length (mm) [scanned area] | Contact Length Lmic (mm) [entire contact patch] | Contact Half Width a (mm) | Total contact area (mm2) [entire contact patch] | Total Ideal Contact Length (mm) [entire contact patch] | Ideal Contact Half Width a (mm) | Ideal total contact area (mm) | Contact Length/Ideal contact length |  | Force at zero ld: | 0.044605 | [6 empty] | coefficients |  | 95% confidence bounds |  |  |  |  | coefficients |  | 95% confidence bounds |  | k1/k2 | Fitted Friction force | Fitted Real Contact Area
0 | -0.036605 | -0.018303 | 0 | 0.077499 | 7395.99 | 7.396 | 175.6548 | 0.0004412 | 0.4412 | 267697.16 | 154.729 | 443.457 | 7.1444e-06 | 0.0063364 | 26217.1287 | 9.2917e-07 | 0.048721 | 0.016915 | 1.6915 |  | 0.43 | 0.3854 | 0.1927 | 2.4865 | 30.411 | 0.095047 | k1 | 0.642 |  | 0.5954 | 0.6886 |  |  | k2 | 0.04661 |  | 0.04427 | 0.04895 | 13.7739 | 0.10086 | 0.0077187
1 | 0.8047 | 0.40235 | 0.84131 | 0.91881 | 7349.85 | 7.3498 | 174.5589 | 0.0052636 | 5.2636 | 731903.94 | 423.0405 | 1212.4444 | 1.4877e-05 | 0.036076 | 26053.5728 | 3.2094e-06 | 0.16723 | 0.046537 | 4.6537 |  | 1.37 | 1.3254 | 0.6627 | 0.72126 | 18.3696 | 0.54114 | n1 | 0.7237 |  | 0.703 | 0.7445 |  |  | n2 | 0.7031 |  | 0.6887 | 0.7175 |  | 0.60384 | 0.043916
2 | 1.6381 | 0.81903 | 1.6747 | 1.7522 | 7426.14 | 7.4261 | 176.3708 | 0.0099345 | 9.9345 | 1104769.56 | 638.5568 | 1830.1195 | 1.6722e-05 | 0.061207 | 26324.0037 | 4.4091e-06 | 0.23213 | 0.069523 | 6.9523 |  | 2.07 | 2.0254 | 1.0127 | 0.57797 | 16.5455 | 0.9181 | [13 empty] | 0.96341 | 0.069141
3 | 3.2359 | 1.618 | 3.2726 | 3.35 | 7490.11 | 7.4901 | 177.8901 | 0.018832 | 18.8321 | 1627789.46 | 940.8623 | 2696.5344 | 1.9049e-05 | 0.10273 | 26550.7631 | 6.0706e-06 | 0.32236 | 0.10156 | 10.1561 |  | 3.21 | 3.1654 | 1.5827 | 0.47244 | 15.4063 | 1.541 | [13 empty] | 1.54 | 0.10905
4 | 4.8179 | 2.4089 | 4.8545 | 4.932 | 7523.25 | 7.5232 | 178.6772 | 0.027603 | 27.6027 | 2203866.7 | 1273.835 | 3650.8422 | 1.9863e-05 | 0.14504 | 26668.2369 | 7.3495e-06 | 0.39199 | 0.1369 | 13.6899 |  | 4.22 | 4.1754 | 2.0877 | 0.4233 | 14.3942 | 2.1756 | [13 empty] | 2.0374 | 0.14313
5 | 6.4487 | 3.2243 | 6.4853 | 6.5628 | 7556.39 | 7.5564 | 179.4643 | 0.036569 | 36.5688 | 2534666.22 | 1465.0371 | 4198.8322 | 2.1366e-05 | 0.17942 | 26785.7108 | 8.4593e-06 | 0.45318 | 0.15676 | 15.6756 |  | 5.3 | 5.2554 | 2.6277 | 0.40039 | 14.6452 | 2.6914 | [13 empty] | 2.5053 | 0.17497
6 | 8.0107 | 4.0053 | 8.0473 | 8.1248 | 7594.15 | 7.5941 | 180.3611 | 0.045047 | 45.0474 | 2843853.36 | 1643.7472 | 4711.0199 | 2.2444e-05 | 0.21146 | 26919.5616 | 9.3889e-06 | 0.50549 | 0.175 | 17.5004 |  | 6.13 | 6.0854 | 3.0427 | 0.3745 | 14.3887 | 3.172 | [13 empty] | 2.9239 | 0.20331
7 | 12.0423 | 6.0211 | 12.0789 | 12.1564 | 7629.6 | 7.6296 | 181.203 | 0.067087 | 67.0869 | 3206771.34 | 1853.5138 | 5312.2161 | 2.5853e-05 | 0.27467 | 27045.2239 | 1.1458e-05 | 0.61975 | 0.19642 | 19.642 |  | 7.73 | 7.6854 | 3.8427 | 0.31611 | 13.9902 | 4.1201 | [13 empty] | 3.9139 | 0.2699
8 | 18.1189 | 9.0595 | 18.1555 | 18.233 | 7698.96 | 7.699 | 182.8503 | 0.099715 | 99.7155 | 3673399.69 | 2123.225 | 6085.215 | 2.9582e-05 | 0.36003 | 27291.0896 | 1.3969e-05 | 0.76245 | 0.22297 | 22.2974 |  | 10.23 | 10.1854 | 5.0927 | 0.27931 | 14.1452 | 5.4005 | [13 empty] | 5.2483 | 0.35891
9 | 24.4631 | 12.2315 | 24.4997 | 24.5772 | 7799.34 | 7.7993 | 185.2343 | 0.13268 | 132.6815 | 4046765.36 | 2339.0304 | 6703.7184 | 3.2723e-05 | 0.43873 | 27646.9142 | 1.6113e-05 | 0.89097 | 0.24248 | 24.2476 |  | 12.83 | 12.7854 | 6.3927 | 0.26011 | 14.571 | 6.5809 | [13 empty] | 6.5142 | 0.44275
10 | 30.0804 | 15.0402 | 30.117 | 30.1945 | 7845.39 | 7.8454 | 186.328 | 0.16205 | 162.0503 | 4435515.08 | 2563.7277 | 7347.7065 | 3.4644e-05 | 0.50911 | 27810.1511 | 1.7808e-05 | 0.99046 | 0.26421 | 26.421 |  | 15.08 | 15.0354 | 7.5177 | 0.24898 | 14.7663 | 7.6367 | [13 empty] | 7.5606 | 0.5117
11 | 36.0631 | 18.0315 | 36.0997 | 36.1772 | 7893.94 | 7.8939 | 187.4811 | 0.19296 | 192.9645 | 4795578.24 | 2771.8442 | 7944.1735 | 3.647e-05 | 0.57945 | 27982.25 | 1.9432e-05 | 1.0875 | 0.2839 | 28.39 |  | 17.04 | 16.9954 | 8.4977 | 0.23489 | 14.6652 | 8.6917 | [13 empty] | 8.6174 | 0.58105
12 | 41.937 | 20.9685 | 41.9736 | 42.0511 | 7936.33 | 7.9363 | 188.4878 | 0.2231 | 223.0972 | 5115645.48 | 2956.8431 | 8474.3848 | 3.8069e-05 | 0.64523 | 28132.5131 | 2.0894e-05 | 1.1756 | 0.30123 | 30.1231 |  | 19.51 | 19.4654 | 9.7327 | 0.23145 | 15.0841 | 9.6785 | [13 empty] | 9.6087 | 0.64589
13 | 47.9814 | 23.9907 | 48.018 | 48.0955 | 7996.44 | 7.9964 | 189.9154 | 0.25325 | 253.2471 | 5451629.35 | 3151.0418 | 9030.9629 | 3.9439e-05 | 0.71235 | 28345.5896 | 2.2261e-05 | 1.262 | 0.3186 | 31.8602 |  | 21.44 | 21.3954 | 10.6977 | 0.22243 | 15.0175 | 10.6852 | [13 empty] | 10.5895 | 0.70985
5.4915
Tow type: | [20 empty] | Friction Forces
T700-12k-50C | [5 empty] | 5.7627
[21 empty] | Static | Static | Static
Test 1 | [20 empty] | Friction Force (N) | Friction Force (N) (zeroed) | Friction Force F (N) [per one contact] | Coefficient of Friction | F/A (MPa) | (A)*(τ) | F-W Curve fits | [6 empty] | A-W Curve fits
Step | Total Ld Cell forces (N) |  | Total Ld Cell Zeroed force (N) | Total Load (N) | Contact Width (µm) | Contact Width (mm) | Contact Area (mm2) | Nom Pressure (MPa) | Nom Pressure (kPa) | Contact Length (pxl) [scanned area] | Contact Length (mm) [scanned area] | Contact Length Lmic (mm) [entire contact patch] | Contact Half Width a (mm) | Total contact area (mm2) [entire contact patch] | Total Ideal Contact Length (mm) [entire contact patch] | Ideal Contact Half Width a (mm) | Ideal total contact area (mm) | Contact Length/Ideal contact length |  | Force at zero ld: | 0.019647 | [6 empty] | coefficients |  | 95% confidence bounds |  |  |  |  | coefficients |  | 95% confidence bounds |  | k1/k2
0 | 0.04053 |  | 0 | 0.077499 | 5493.31 | 5.4933 | 130.4661 | 0.00059402 | 0.59402 | 57735.25 | 33.371 | 95.642 | 1.5384e-05 | 0.0029427 | 19472.5541 | 1.0781e-06 | 0.041989 | 0.0049116 | 0.49116 |  | 0.2 | 0.18035 | 0.090176 | 1.1636 | 30.6442 | 0.070625 | k1 | 0.7096 |  | 0.6518 | 0.7673 |  |  | k2 | 0.03844 |  | 0.03567 | 0.04121 | 18.4599
1 | 0.77548 |  | 0.73495 | 0.81245 | 5485.89 | 5.4859 | 130.2899 | 0.0062357 | 6.2357 | 347472.75 | 200.8392 | 575.6102 | 2.0304e-05 | 0.023374 | 19446.2519 | 3.4932e-06 | 0.13586 | 0.0296 | 2.96 |  | 1.06 | 1.0404 | 0.52018 | 0.64026 | 22.2544 | 0.56098 | n1 | 0.8301 |  | 0.8071 | 0.8531 |  |  | n2 | 0.7479 |  | 0.7274 | 0.7684
2 | 1.5408 |  | 1.5003 | 1.5778 | 5501.79 | 5.5018 | 130.6675 | 0.012075 | 12.0749 | 615029 | 355.4868 | 1018.8338 | 2.1267e-05 | 0.043336 | 19502.6138 | 4.861e-06 | 0.1896 | 0.052241 | 5.2241 |  | 1.84 | 1.8204 | 0.91018 | 0.57686 | 21.0027 | 1.0401
3 | 3.1935 |  | 3.153 | 3.2305 | 5524.04 | 5.524 | 131.196 | 0.024623 | 24.6233 | 1047250.51 | 605.3108 | 1734.8356 | 2.3321e-05 | 0.080916 | 19581.4851 | 6.9415e-06 | 0.27185 | 0.088596 | 8.8596 |  | 3.9 | 3.8804 | 1.9402 | 0.60058 | 23.9776 | 1.942
4 | 4.7818 |  | 4.7413 | 4.8188 | 5569.61 | 5.5696 | 132.2782 | 0.036429 | 36.4294 | 1550592.5 | 896.2425 | 2568.6529 | 2.3408e-05 | 0.12025 | 19743.0205 | 8.4432e-06 | 0.33339 | 0.1301 | 13.0104 |  | 5.74 | 5.7204 | 2.8602 | 0.59354 | 23.7847 | 2.8861
5 | 6.5216 |  | 6.4811 | 6.5586 | 5608.82 | 5.6088 | 133.2095 | 0.049235 | 49.2354 | 1973718.51 | 1140.8093 | 3269.5874 | 2.4205e-05 | 0.15828 | 19882.0112 | 9.8156e-06 | 0.39031 | 0.16445 | 16.445 |  | 7.02 | 7.0004 | 3.5002 | 0.53368 | 22.1139 | 3.7987
6 | 8.0184 |  | 7.9779 | 8.0554 | 5664.98 | 5.665 | 134.5433 | 0.059872 | 59.8722 | 2360159 | 1364.1719 | 3909.7501 | 2.4531e-05 | 0.19182 | 20081.0858 | 1.0824e-05 | 0.43472 | 0.1947 | 19.4698 |  | 8.61 | 8.5904 | 4.2952 | 0.5332 | 22.3919 | 4.6036
7 | 11.9652 |  | 11.9247 | 12.0022 | 5713.72 | 5.7137 | 135.7009 | 0.088446 | 88.4459 | 2767116.51 | 1599.3933 | 4583.9005 | 2.7654e-05 | 0.25352 | 20253.8582 | 1.3156e-05 | 0.53291 | 0.22632 | 22.6322 |  | 11.08 | 11.0604 | 5.5302 | 0.46076 | 21.8132 | 6.0846
8 | 18.0064 |  | 17.9659 | 18.0434 | 5782.6 | 5.7826 | 137.3368 | 0.13138 | 131.3804 | 3257116.26 | 1882.6132 | 5395.6156 | 3.1252e-05 | 0.33725 | 20498.0224 | 1.6034e-05 | 0.65733 | 0.26323 | 26.3226 |  | 15.35 | 15.3304 | 7.6652 | 0.42482 | 22.7285 | 8.094
9 | 24.1031 |  | 24.0625 | 24.14 | 5873.73 | 5.8737 | 139.5011 | 0.17305 | 173.0454 | 3738038.75 | 2160.5864 | 6192.2936 | 3.3743e-05 | 0.41789 | 20821.0578 | 1.8402e-05 | 0.76629 | 0.29741 | 29.7405 |  | 19.66 | 19.6404 | 9.8202 | 0.4068 | 23.4992 | 10.0295
10 | 30.048 |  | 30.0074 | 30.0849 | 5969.1 | 5.9691 | 141.7661 | 0.21222 | 212.2153 | 4161538.88 | 2405.3695 | 6893.8479 | 3.5701e-05 | 0.49224 | 21159.1231 | 2.0378e-05 | 0.86237 | 0.32581 | 32.581 |  | 23.71 | 23.6904 | 11.8452 | 0.39372 | 24.0638 | 11.8138
11 | 35.9606 |  | 35.92 | 35.9975 | 6075.3 | 6.0753 | 144.2884 | 0.24948 | 249.4833 | 4518806.26 | 2611.87 | 7485.6835 | 3.7477e-05 | 0.56108 | 21535.5784 | 2.2095e-05 | 0.95167 | 0.3476 | 34.7596 |  | 27.53 | 27.5104 | 13.7552 | 0.38211 | 24.5156 | 13.4659
12 | 42.1327 |  | 42.0921 | 42.1696 | 6183.16 | 6.1832 | 146.8501 | 0.28716 | 287.1613 | 4835846.02 | 2795.119 | 8010.8796 | 3.921e-05 | 0.62822 | 21917.9179 | 2.3705e-05 | 1.0391 | 0.36549 | 36.5495 |  | 31.72 | 31.7004 | 15.8502 | 0.37587 | 25.2303 | 15.0773
13 | 48.08 |  | 48.0394 | 48.1169 | 6295.48 | 6.2955 | 149.5176 | 0.32181 | 321.8145 | 5163750.77 | 2984.6479 | 8554.0742 | 4.0533e-05 | 0.69344 | 22316.0672 | 2.5095e-05 | 1.12 | 0.38331 | 38.3315 |  | 35.87 | 35.8504 | 17.9252 | 0.37253 | 25.8497 | 16.6425
[21 empty] | Static | Static | Static
Test 2 | [20 empty] | Friction Force (N) | Friction Force (N) (zeroed) | Friction Force F (N) [per one contact] | Coefficient of Friction | F/A (MPa) | (A)*(τ) | F-W Curve fits | [6 empty] | A-W Curve fits
Step | Total Ld Cell forces (N) |  | Total Ld Cell Zeroed force (N) | Total Load (N) | Contact Width (µm) | Contact Width (mm) | Contact Area (mm2) | Nom Pressure (MPa) | Nom Pressure (kPa) | Contact Length (pxl) [scanned area] | Contact Length (mm) [scanned area] | Contact Length Lmic (mm) [entire contact patch] | Contact Half Width a (mm) | Total contact area (mm2) [entire contact patch] | Total Ideal Contact Length (mm) [entire contact patch] | Ideal Contact Half Width a (mm) | Ideal total contact area (mm) | Contact Length/Ideal contact length |  | Force at zero ld: | 0.037615 | [6 empty] | coefficients |  | 95% confidence bounds |  |  |  |  | coefficients |  | 95% confidence bounds |  | k1/k2
0 | -0.019925 |  | 0 | 0.077499 | 5852.54 | 5.8525 | 138.9978 | 0.00055756 | 0.55756 | 25757 | 14.8875 | 42.6681 | 2.3032e-05 | 0.0019655 | 20745.944 | 1.0445e-06 | 0.04334 | 0.0020567 | 0.20567 |  | 0.34 | 0.30239 | 0.15119 | 1.9509 | 76.9235 | 0.049137 | k1 | 0.748 |  | 0.6917 | 0.8044 |  |  | k2 | 0.03277 |  | 0.02933 | 0.03621 | 22.8258
1 | 0.78964 |  | 0.80956 | 0.88706 | 5867.86 | 5.8679 | 139.3617 | 0.0063652 | 6.3652 | 114498.25 | 66.18 | 189.6735 | 3.6959e-05 | 0.01402 | 20800.25 | 3.5293e-06 | 0.14682 | 0.0091188 | 0.91188 |  | 1.22 | 1.1824 | 0.59119 | 0.66646 | 42.1674 | 0.3505 | n1 | 0.8115 |  | 0.7902 | 0.8328 |  |  | n2 | 0.7853 |  | 0.7555 | 0.8151
2 | 1.529 |  | 1.549 | 1.6265 | 5907.93 | 5.9079 | 140.3133 | 0.011592 | 11.5916 | 362102.88 | 209.2955 | 599.8459 | 2.8141e-05 | 0.033761 | 20942.2892 | 4.7627e-06 | 0.19948 | 0.028643 | 2.8643 |  | 2.09 | 2.0524 | 1.0262 | 0.63094 | 30.3959 | 0.84402
3 | 3.1339 |  | 3.1539 | 3.2314 | 5944.15 | 5.9441 | 141.1736 | 0.022889 | 22.8893 | 742501.88 | 429.1661 | 1230.0005 | 2.77e-05 | 0.068142 | 21070.681 | 6.6926e-06 | 0.28204 | 0.058375 | 5.8375 |  | 3.5 | 3.4624 | 1.7312 | 0.53575 | 25.4055 | 1.7036
4 | 4.8017 |  | 4.8216 | 4.8991 | 5986.54 | 5.9865 | 142.1803 | 0.034457 | 34.4571 | 1226750.63 | 709.0619 | 2032.1887 | 2.6535e-05 | 0.10785 | 21220.944 | 8.2114e-06 | 0.34851 | 0.095763 | 9.5763 |  | 5.33 | 5.2924 | 2.6462 | 0.54014 | 24.5363 | 2.6962
5 | 6.4348 |  | 6.4547 | 6.5322 | 6030.47 | 6.0305 | 143.2237 | 0.045608 | 45.6084 | 1686540.26 | 974.8203 | 2793.8588 | 2.6132e-05 | 0.14602 | 21376.666 | 9.4472e-06 | 0.4039 | 0.1307 | 13.0697 |  | 7.09 | 7.0524 | 3.5262 | 0.53982 | 24.1492 | 3.6504
6 | 7.9746 |  | 7.9945 | 8.072 | 6074.39 | 6.0744 | 144.2668 | 0.055952 | 55.9517 | 2072112.76 | 1197.6812 | 3432.5836 | 2.6207e-05 | 0.17992 | 21532.3526 | 1.0464e-05 | 0.45062 | 0.15942 | 15.9415 |  | 8.78 | 8.7424 | 4.3712 | 0.54153 | 24.2956 | 4.4979
7 | 12.0663 |  | 12.0862 | 12.1637 | 6116.78 | 6.1168 | 145.2735 | 0.08373 | 83.7298 | 2470403.4 | 1427.8932 | 4092.3768 | 2.9464e-05 | 0.24115 | 21682.6157 | 1.28e-05 | 0.55509 | 0.18874 | 18.874 |  | 11.6 | 11.5624 | 5.7812 | 0.47528 | 23.9731 | 6.0288
8 | 18.1643 |  | 18.1842 | 18.2617 | 6179.21 | 6.1792 | 146.7562 | 0.12444 | 124.4357 | 2990051.53 | 1728.2498 | 4953.2063 | 3.2815e-05 | 0.32508 | 21903.916 | 1.5605e-05 | 0.6836 | 0.22613 | 22.6133 |  | 15.57 | 15.5324 | 7.7662 | 0.42527 | 23.8903 | 8.1269
9 | 24.0318 |  | 24.0517 | 24.1292 | 6250.88 | 6.2509 | 148.4584 | 0.16253 | 162.532 | 3459006.14 | 1999.3055 | 5730.0587 | 3.507e-05 | 0.4019 | 22157.9701 | 1.7834e-05 | 0.79033 | 0.2586 | 25.86 |  | 19.83 | 19.7924 | 9.8962 | 0.41013 | 24.6232 | 10.0476
10 | 30.0833 |  | 30.1032 | 30.1807 | 6328.72 | 6.3287 | 150.3071 | 0.20079 | 200.7936 | 3889983.17 | 2248.4103 | 6443.999 | 3.6985e-05 | 0.47667 | 22433.8955 | 1.9822e-05 | 0.88938 | 0.28724 | 28.7244 |  | 23.64 | 23.6024 | 11.8012 | 0.39102 | 24.7578 | 11.9167
11 | 36.2299 |  | 36.2499 | 36.3274 | 6407.32 | 6.4073 | 152.1738 | 0.23872 | 238.7227 | 4304266.55 | 2487.8661 | 7130.2851 | 3.8575e-05 | 0.5501 | 22712.5149 | 2.1614e-05 | 0.9818 | 0.31394 | 31.3936 |  | 27.35 | 27.3124 | 13.6562 | 0.37592 | 24.8249 | 13.7525
12 | 41.9808 |  | 42.0007 | 42.0782 | 6496.72 | 6.4967 | 154.2971 | 0.27271 | 272.7091 | 4703144.28 | 2718.4174 | 7791.0509 | 3.9717e-05 | 0.61887 | 23029.4179 | 2.3101e-05 | 1.064 | 0.33831 | 33.8309 |  | 31.66 | 31.6224 | 15.8112 | 0.37576 | 25.5485 | 15.4717
13 | 48.2328 |  | 48.2527 | 48.3302 | 6579.95 | 6.58 | 156.2738 | 0.30927 | 309.2661 | 4978424.89 | 2877.5296 | 8247.0703 | 4.1372e-05 | 0.68239 | 23324.4496 | 2.4601e-05 | 1.1476 | 0.35358 | 35.358 |  | 34.71 | 34.6724 | 17.3362 | 0.3587 | 25.4052 | 17.0597
[21 empty] | Static | Static | Static
Test 3 | [20 empty] | Friction Force (N) | Friction Force (N) (zeroed) | Friction Force F (N) [per one contact] | Coefficient of Friction | F/A (MPa) | (A)*(τ) | F-W Curve fits | [6 empty] | A-W Curve fits
Step | Total Ld Cell forces (N) |  | Total Ld Cell Zeroed force (N) | Total Load (N) | Contact Width (µm) | Contact Width (mm) | Contact Area (mm2) | Nom Pressure (MPa) | Nom Pressure (kPa) | Contact Length (pxl) [scanned area] | Contact Length (mm) [scanned area] | Contact Length Lmic (mm) [entire contact patch] | Contact Half Width a (mm) | Total contact area (mm2) [entire contact patch] | Total Ideal Contact Length (mm) [entire contact patch] | Ideal Contact Half Width a (mm) | Ideal total contact area (mm) | Contact Length/Ideal contact length |  | Force at zero ld: | 0.03593 | [6 empty] | coefficients |  | 95% confidence bounds |  |  |  |  | coefficients |  | 95% confidence bounds |  | k1/k2
0 | -0.032923 |  | 0 | 0.077499 | 5595.04 | 5.595 | 132.8822 | 0.00058322 | 0.58322 | 53913.88 | 31.1622 | 89.3117 | 1.592e-05 | 0.0028436 | 19833.1642 | 1.0683e-06 | 0.042376 | 0.0045031 | 0.45031 |  | 0.22 | 0.18407 | 0.092035 | 1.1876 | 32.3652 | 0.073935 | k1 | 0.6634 |  | 0.6164 | 0.7104 |  |  | k2 | 0.02941 |  | 0.02708 | 0.03174 | 22.557
1 | 0.77973 |  | 0.81265 | 0.89015 | 5611.99 | 5.612 | 133.2848 | 0.0066785 | 6.6785 | 204150 | 117.9987 | 338.1872 | 2.7726e-05 | 0.018753 | 19893.2481 | 3.6151e-06 | 0.14383 | 0.017 | 1.7 |  | 1.28 | 1.2441 | 0.62203 | 0.6988 | 33.1691 | 0.48759 | n1 | 0.8455 |  | 0.8256 | 0.8654 |  |  | n2 | 0.808 |  | 0.7856 | 0.8304
2 | 1.6036 |  | 1.6365 | 1.714 | 5637.43 | 5.6374 | 133.889 | 0.012802 | 12.8015 | 395368.13 | 228.5228 | 654.9519 | 2.7647e-05 | 0.036214 | 19983.4272 | 5.0051e-06 | 0.20004 | 0.032775 | 3.2775 |  | 2.12 | 2.0841 | 1.042 | 0.60796 | 28.7741 | 0.94157
3 | 3.1794 |  | 3.2123 | 3.2898 | 5670.28 | 5.6703 | 134.6692 | 0.024429 | 24.4288 | 671654 | 388.216 | 1112.6366 | 2.9387e-05 | 0.065393 | 20099.8731 | 6.914e-06 | 0.27794 | 0.055355 | 5.5355 |  | 3.65 | 3.6141 | 1.807 | 0.54928 | 27.6333 | 1.7002
4 | 4.7859 |  | 4.8189 | 4.8964 | 5710.54 | 5.7105 | 135.6253 | 0.036102 | 36.1021 | 1062955 | 614.388 | 1760.851 | 2.8498e-05 | 0.10036 | 20242.5858 | 8.4051e-06 | 0.34028 | 0.086987 | 8.6987 |  | 5.16 | 5.1241 | 2.562 | 0.52325 | 25.5279 | 2.6094
5 | 6.4623 |  | 6.4952 | 6.5727 | 5733.86 | 5.7339 | 136.1792 | 0.048265 | 48.265 | 1411613.64 | 815.9127 | 2338.4258 | 2.8652e-05 | 0.134 | 20325.25 | 9.7184e-06 | 0.39506 | 0.11505 | 11.505 |  | 6.71 | 6.6741 | 3.337 | 0.50771 | 24.9032 | 3.484
6 | 8.0193 |  | 8.0522 | 8.1297 | 5779.23 | 5.7792 | 137.2567 | 0.05923 | 59.2299 | 1815658.38 | 1049.4505 | 3007.751 | 2.8097e-05 | 0.16902 | 20486.0765 | 1.0766e-05 | 0.4411 | 0.14682 | 14.6819 |  | 8.06 | 8.0241 | 4.012 | 0.4935 | 23.7375 | 4.3944
7 | 12.1067 |  | 12.1396 | 12.2171 | 5807.74 | 5.8077 | 137.9338 | 0.088572 | 88.5721 | 2227072.77 | 1287.2481 | 3689.2845 | 3.11e-05 | 0.22947 | 20587.1381 | 1.3165e-05 | 0.54207 | 0.1792 | 17.9203 |  | 11.55 | 11.5141 | 5.757 | 0.47123 | 25.0883 | 5.9662
8 | 17.9006 |  | 17.9335 | 18.011 | 5854.76 | 5.8548 | 139.0506 | 0.12953 | 129.5285 | 2712021.14 | 1567.5482 | 4492.6316 | 3.4218e-05 | 0.30746 | 20753.8134 | 1.5921e-05 | 0.66083 | 0.21647 | 21.6473 |  | 15.07 | 15.0341 | 7.517 | 0.41736 | 24.4487 | 7.994
9 | 24.08 |  | 24.113 | 24.1905 | 5924.12 | 5.9241 | 140.6979 | 0.17193 | 171.9319 | 3171023 | 1832.8513 | 5252.9967 | 3.6674e-05 | 0.3853 | 20999.6791 | 1.8342e-05 | 0.77037 | 0.25015 | 25.0147 |  | 19.35 | 19.3141 | 9.657 | 0.39921 | 25.0638 | 10.0178
10 | 30.1057 |  | 30.1386 | 30.2161 | 5993.48 | 5.9935 | 142.3451 | 0.21227 | 212.2738 | 3668305.51 | 2120.2806 | 6076.7761 | 3.8109e-05 | 0.46316 | 21245.5448 | 2.0381e-05 | 0.86602 | 0.28603 | 28.6026 |  | 23.33 | 23.2941 | 11.647 | 0.38546 | 25.1471 | 12.0421
11 | 36.2712 |  | 36.3041 | 36.3816 | 6080.56 | 6.0806 | 144.4133 | 0.25193 | 251.9268 | 4132746.27 | 2388.7273 | 6846.1511 | 3.9397e-05 | 0.53943 | 21554.2239 | 2.2203e-05 | 0.95715 | 0.31762 | 31.7625 |  | 27.41 | 27.3741 | 13.687 | 0.37621 | 25.3731 | 14.0252
12 | 42.7 |  | 42.7329 | 42.8104 | 6171.49 | 6.1715 | 146.5729 | 0.29208 | 292.0761 | 4498845.14 | 2600.3325 | 7452.6167 | 4.096e-05 | 0.61052 | 21876.5504 | 2.3907e-05 | 1.046 | 0.34067 | 34.0667 |  | 32.25 | 32.2141 | 16.107 | 0.37624 | 26.3824 | 15.8736
13 | 48.1542 |  | 48.1872 | 48.2647 | 6267.06 | 6.2671 | 148.8427 | 0.32427 | 324.2663 | 4808977.65 | 2779.5891 | 7966.3705 | 4.2066e-05 | 0.67022 | 22215.3246 | 2.519e-05 | 1.1192 | 0.3586 | 35.8598 |  | 35.39 | 35.3541 | 17.677 | 0.36625 | 26.375 | 17.4257
[21 empty] | Static | Static | Static
Test 4 | [20 empty] | Friction Force (N) | Friction Force (N) (zeroed) | Friction Force F (N) [per one contact] | Coefficient of Friction | F/A (MPa) | (A)*(τ) | F-W Curve fits | [6 empty] | A-W Curve fits
Step | Total Ld Cell forces (N) |  | Total Ld Cell Zeroed force (N) | Total Load (N) | Contact Width (µm) | Contact Width (mm) | Contact Area (mm2) | Nom Pressure (MPa) | Nom Pressure (kPa) | Contact Length (pxl) [scanned area] | Contact Length (mm) [scanned area] | Contact Length Lmic (mm) [entire contact patch] | Contact Half Width a (mm) | Total contact area (mm2) [entire contact patch] | Total Ideal Contact Length (mm) [entire contact patch] | Ideal Contact Half Width a (mm) | Ideal total contact area (mm) | Contact Length/Ideal contact length |  | Force at zero ld: | 0.0071422 | [6 empty] | coefficients |  | 95% confidence bounds |  |  |  |  | coefficients |  | 95% confidence bounds |  | k1/k2
0 | -0.0020603 |  | 0 | 0.077499 | 5131.09 | 5.1311 | 121.8634 | 0.00063595 | 0.63595 | 48101.25 | 27.8025 | 79.6827 | 1.6854e-05 | 0.002686 | 18188.5653 | 1.1156e-06 | 0.040581 | 0.0043809 | 0.43809 |  | 0.26 | 0.25286 | 0.12643 | 1.6314 | 47.07 | 0.066881 | k1 | 0.6374 |  | 0.5967 | 0.678 |  |  | k2 | 0.03156 |  | 0.03017 | 0.03294 | 20.1965
1 | 0.82268 |  | 0.82474 | 0.90224 | 5129.85 | 5.1299 | 121.8339 | 0.0074055 | 7.4055 | 325174 | 187.9506 | 538.6709 | 2.2118e-05 | 0.023828 | 18184.1698 | 3.8068e-06 | 0.13845 | 0.029623 | 2.9623 |  | 1.26 | 1.2529 | 0.62643 | 0.6943 | 26.2891 | 0.59333 | n1 | 0.8433 |  | 0.8254 | 0.8613 |  |  | n2 | 0.7862 |  | 0.7737 | 0.7986
2 | 1.5886 |  | 1.5907 | 1.6682 | 5158.84 | 5.1588 | 122.5225 | 0.013615 | 13.6154 | 597456.25 | 345.3297 | 989.7234 | 2.2187e-05 | 0.043919 | 18286.9328 | 5.1617e-06 | 0.18878 | 0.054122 | 5.4122 |  | 2.02 | 2.0129 | 1.0064 | 0.60331 | 22.9156 | 1.0936
3 | 3.2234 |  | 3.2255 | 3.303 | 5188.32 | 5.1883 | 123.2226 | 0.026805 | 26.8048 | 998664.13 | 577.2279 | 1654.3492 | 2.4148e-05 | 0.079898 | 18391.4328 | 7.2425e-06 | 0.2664 | 0.089952 | 8.9952 |  | 3.48 | 3.4729 | 1.7364 | 0.52572 | 21.733 | 1.9895
4 | 4.8015 |  | 4.8035 | 4.881 | 5215.1 | 5.2151 | 123.8586 | 0.039408 | 39.408 | 1323495.13 | 764.9802 | 2192.452 | 2.55e-05 | 0.11181 | 18486.3619 | 8.7816e-06 | 0.32468 | 0.1186 | 11.8598 |  | 4.92 | 4.9129 | 2.4564 | 0.50326 | 21.9691 | 2.7841
5 | 6.506 |  | 6.508 | 6.5855 | 5268.28 | 5.2683 | 125.1217 | 0.052633 | 52.633 | 1623605.63 | 938.4441 | 2689.6037 | 2.6742e-05 | 0.14385 | 18674.8731 | 1.0149e-05 | 0.37905 | 0.14402 | 14.4023 |  | 6.52 | 6.5129 | 3.2564 | 0.49448 | 22.6376 | 3.5819
6 | 7.9899 |  | 7.9919 | 8.0694 | 5327.62 | 5.3276 | 126.531 | 0.063774 | 63.7743 | 1839594.65 | 1063.2857 | 3047.4029 | 2.781e-05 | 0.1695 | 18885.2201 | 1.1171e-05 | 0.42194 | 0.16136 | 16.1364 |  | 7.69 | 7.6829 | 3.8414 | 0.47605 | 22.6639 | 4.2204
7 | 12.1017 |  | 12.1037 | 12.1812 | 5393.13 | 5.3931 | 128.0868 | 0.095101 | 95.1013 | 2166332.65 | 1252.1403 | 3588.6647 | 3.1486e-05 | 0.22599 | 19117.4384 | 1.3642e-05 | 0.52159 | 0.18772 | 18.7717 |  | 10.73 | 10.7229 | 5.3614 | 0.44014 | 23.7245 | 5.6271
8 | 18.0339 |  | 18.036 | 18.1135 | 5475.59 | 5.4756 | 130.0453 | 0.13929 | 139.2859 | 2624335.15 | 1516.8657 | 4347.3743 | 3.4884e-05 | 0.30331 | 19409.7407 | 1.6509e-05 | 0.64089 | 0.22398 | 22.3979 |  | 14.27 | 14.2629 | 7.1314 | 0.39371 | 23.512 | 7.5524
9 | 24.1165 |  | 24.1186 | 24.1961 | 5557.57 | 5.5576 | 131.9923 | 0.18331 | 183.3143 | 3120362.39 | 1803.5695 | 5169.0743 | 3.6975e-05 | 0.38225 | 19700.3414 | 1.894e-05 | 0.74624 | 0.26239 | 26.2385 |  | 18.46 | 18.4529 | 9.2264 | 0.38132 | 24.137 | 9.5181
10 | 30.0254 |  | 30.0274 | 30.1049 | 5643.78 | 5.6438 | 134.0398 | 0.2246 | 224.5969 | 3593564.03 | 2077.08 | 5952.9622 | 3.8432e-05 | 0.45757 | 20005.9366 | 2.0964e-05 | 0.83882 | 0.29756 | 29.756 |  | 22.31 | 22.3029 | 11.1514 | 0.37042 | 24.371 | 11.3935
11 | 36.222 |  | 36.2241 | 36.3016 | 5724.32 | 5.7243 | 135.9526 | 0.26702 | 267.0166 | 4010842.26 | 2318.2668 | 6644.2096 | 3.9947e-05 | 0.53083 | 20291.4328 | 2.2859e-05 | 0.92767 | 0.32744 | 32.7439 |  | 26.17 | 26.1629 | 13.0814 | 0.36035 | 24.6433 | 13.2177
12 | 42.5087 |  | 42.5108 | 42.5883 | 5814.68 | 5.8147 | 138.0986 | 0.30839 | 308.3902 | 4429089.04 | 2560.0135 | 7337.0614 | 4.1174e-05 | 0.6042 | 20611.7388 | 2.4566e-05 | 1.0127 | 0.35597 | 35.5965 |  | 30.57 | 30.5629 | 15.2814 | 0.35882 | 25.2922 | 15.0445
13 | 48.0498 |  | 48.0519 | 48.1294 | 5900.22 | 5.9002 | 140.1302 | 0.34346 | 343.462 | 4750458.16 | 2745.7648 | 7869.4293 | 4.2264e-05 | 0.66519 | 20914.959 | 2.5925e-05 | 1.0844 | 0.37626 | 37.6258 |  | 33.51 | 33.5029 | 16.7514 | 0.34805 | 25.1827 | 16.5633
[21 empty] | Static | Static | Static
Test 5 | [20 empty] | Friction Force (N) | Friction Force (N) (zeroed) | Friction Force F (N) [per one contact] | Coefficient of Friction | F/A (MPa) | (A)*(τ) | F-W Curve fits | [6 empty] | A-W Curve fits
Step | Total Ld Cell forces (N) |  | Total Ld Cell Zeroed force (N) | Total Load (N) | Contact Width (µm) | Contact Width (mm) | Contact Area (mm2) | Nom Pressure (MPa) | Nom Pressure (kPa) | Contact Length (pxl) [scanned area] | Contact Length (mm) [scanned area] | Contact Length Lmic (mm) [entire contact patch] | Contact Half Width a (mm) | Total contact area (mm2) [entire contact patch] | Total Ideal Contact Length (mm) [entire contact patch] | Ideal Contact Half Width a (mm) | Ideal total contact area (mm) | Contact Length/Ideal contact length |  | Force at zero ld: | 0.017255 | [6 empty] | coefficients |  | 95% confidence bounds |  |  |  |  | coefficients |  | 95% confidence bounds |  | k1/k2
0 | -0.0014572 |  | 0 | 0.077499 | 5385.42 | 5.3854 | 127.9037 | 0.00060592 | 0.60592 | 30233.25 | 17.4748 | 50.0833 | 2.1259e-05 | 0.0021294 | 19090.1082 | 1.0889e-06 | 0.041574 | 0.0026235 | 0.26235 |  | 0.33 | 0.31275 | 0.15637 | 2.0177 | 73.4336 | 0.059624 | k1 | 0.7688 |  | 0.7025 | 0.835 |  |  | k2 | 0.02785 |  | 0.02578 | 0.02992 | 27.605
1 | 0.76308 |  | 0.76454 | 0.84204 | 5396.21 | 5.3962 | 128.16 | 0.0065702 | 6.5702 | 123404.25 | 71.3277 | 204.4268 | 3.4685e-05 | 0.014181 | 19128.3563 | 3.5857e-06 | 0.13718 | 0.010687 | 1.0687 |  | 1.32 | 1.3027 | 0.65137 | 0.77357 | 45.9328 | 0.39707 | n1 | 0.818 |  | 0.7936 | 0.8423 |  |  | n2 | 0.8081 |  | 0.7871 | 0.8291
2 | 1.543 |  | 1.5445 | 1.622 | 5398.52 | 5.3985 | 128.2149 | 0.012651 | 12.6505 | 358444.25 | 207.1808 | 593.7852 | 2.8246e-05 | 0.033544 | 19136.5448 | 4.9755e-06 | 0.19043 | 0.031029 | 3.1029 |  | 2.34 | 2.3227 | 1.1614 | 0.71602 | 34.6227 | 0.93922
3 | 3.1886 |  | 3.1901 | 3.2676 | 5410.08 | 5.4101 | 128.4894 | 0.025431 | 25.4306 | 673256.25 | 389.1421 | 1115.2908 | 2.9252e-05 | 0.06525 | 19177.5224 | 7.0544e-06 | 0.27057 | 0.058156 | 5.8156 |  | 4.02 | 4.0027 | 2.0014 | 0.6125 | 30.6726 | 1.827
4 | 4.8179 |  | 4.8193 | 4.8968 | 5451.7 | 5.4517 | 129.4779 | 0.03782 | 37.8199 | 1033805.25 | 597.5394 | 1712.5627 | 2.8899e-05 | 0.098981 | 19325.056 | 8.6028e-06 | 0.3325 | 0.088619 | 8.8619 |  | 5.59 | 5.5727 | 2.7864 | 0.56901 | 28.1505 | 2.7715
5 | 6.4782 |  | 6.4796 | 6.5571 | 5511.04 | 5.511 | 130.8872 | 0.050098 | 50.0975 | 1388099.88 | 802.3217 | 2299.4737 | 2.8859e-05 | 0.13272 | 19535.403 | 9.9012e-06 | 0.38685 | 0.11771 | 11.7708 |  | 7.51 | 7.4927 | 3.7464 | 0.57134 | 28.2272 | 3.7162
6 | 7.9763 |  | 7.9778 | 8.0553 | 5563.44 | 5.5634 | 132.1317 | 0.060964 | 60.9641 | 1637929.25 | 946.7231 | 2713.3316 | 2.9446e-05 | 0.1598 | 19721.1493 | 1.0922e-05 | 0.4308 | 0.13758 | 13.7585 |  | 9.14 | 9.1227 | 4.5614 | 0.56626 | 28.5451 | 4.4743
7 | 12.083 |  | 12.0844 | 12.1619 | 5619.7 | 5.6197 | 133.4679 | 0.091122 | 91.1225 | 1954206.89 | 1129.5316 | 3237.2652 | 3.3125e-05 | 0.21447 | 19920.5784 | 1.3353e-05 | 0.53202 | 0.16251 | 16.2509 |  | 12.23 | 12.2127 | 6.1064 | 0.50209 | 28.4722 | 6.0051
8 | 18.1204 |  | 18.1219 | 18.1994 | 5672.88 | 5.6729 | 134.7309 | 0.13508 | 135.0793 | 2381605.52 | 1376.568 | 3945.2776 | 3.6705e-05 | 0.28963 | 20109.0896 | 1.6258e-05 | 0.65388 | 0.19619 | 19.6194 |  | 16.16 | 16.1427 | 8.0714 | 0.4435 | 27.8682 | 8.1095
9 | 24.0569 |  | 24.0583 | 24.1358 | 5737.61 | 5.7376 | 136.2682 | 0.17712 | 177.1199 | 2823368.78 | 1631.9072 | 4677.0859 | 3.8823e-05 | 0.36315 | 20338.5429 | 1.8617e-05 | 0.75729 | 0.22996 | 22.9962 |  | 20.36 | 20.3427 | 10.1714 | 0.42142 | 28.0084 | 10.1683
10 | 29.835 |  | 29.8365 | 29.914 | 5811.6 | 5.8116 | 138.0255 | 0.21673 | 216.7279 | 3205333.04 | 1852.6825 | 5309.8335 | 4.0564e-05 | 0.43077 | 20600.8209 | 2.0594e-05 | 0.8485 | 0.25775 | 25.7749 |  | 24.27 | 24.2527 | 12.1264 | 0.40537 | 28.1502 | 12.0617
11 | 36.3597 |  | 36.3612 | 36.4387 | 5896.37 | 5.8964 | 140.0388 | 0.2602 | 260.2043 | 3678677.53 | 2126.2756 | 6093.958 | 4.179e-05 | 0.50933 | 20901.3116 | 2.2565e-05 | 0.94328 | 0.29156 | 29.1559 |  | 28.83 | 28.8127 | 14.4064 | 0.39536 | 28.2847 | 14.2614
12 | 42.1944 |  | 42.1958 | 42.2733 | 5963.42 | 5.9634 | 141.6312 | 0.29847 | 298.4747 | 3994077.77 | 2308.577 | 6616.4381 | 4.3198e-05 | 0.57163 | 21138.9888 | 2.4168e-05 | 1.0218 | 0.313 | 31.2997 |  | 33.26 | 33.2427 | 16.6214 | 0.39319 | 29.077 | 16.0057
13 | 47.8271 |  | 47.8285 | 47.906 | 6036.63 | 6.0366 | 143.37 | 0.33414 | 334.1429 | 4381577.3 | 2532.5517 | 7258.3552 | 4.3905e-05 | 0.63736 | 21398.5019 | 2.5571e-05 | 1.0944 | 0.3392 | 33.9199 |  | 36.81 | 36.7927 | 18.3964 | 0.38401 | 28.8633 | 17.8461